## Master copy
|  |  | log RNA dilution | all Cqs | outliers removed
Process control virus |  | process control virus RNA n | 0 |  |  | Slope | #DIV/0!
|  | process control virus RNA -1 | -1 |  |  | Intercept | #DIV/0!
|  | process control virus RNA -2 | -2 |  |  | r2 | #DIV/0!
|  | process control virus RNA -3 | -3
#DIV/0!
#DIV/0!
|  |  | r2 cut-off | 0.98
|  |  | Sample name | RNA concentration | Cq | log difference from reference | % extraction efficiency
|  | sample 1 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  | sample 2 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  | sample 3 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  | sample 4 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  | sample 5 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  | sample 6 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  | sample 7 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  | sample 8 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  | sample 9 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  | sample 10 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  | sample 11 |  | undiluted |  | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0!
|  |  | log copies/ul | all Cqs | outliers removed
Norovirus GI |  | dsDNA neat | 5 |  |  | Slope | #DIV/0!
|  | dsDNA neat | 5 |  |  | Intercept | #DIV/0!
|  | dsDNA -1 | 4 |  |  | r2 | #DIV/0!
|  | dsDNA -1 | 4
|  | dsDNA -2 | 3
|  | dsDNA -2 | 3
|  | dsDNA -3 | 2
|  | dsDNA -3 | 2
|  | dsDNA -4 | 1
|  | dsDNA -4 | 1
#DIV/0!
#DIV/0!
|  |  | r2 cut-off | 0.98
|  |  | neat copies/ul | 100000
|  |  | Sample name | RNA concentration | Cq | log difference from intercept | copies/ul RNA | average | copies/g
|  | sample 1 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 2 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 3 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 4 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 5 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 6 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 7 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 8 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 9 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 10 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 11 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  | log copies/ul | all Cqs | outliers removed
Norovirus GII |  | dsDNA neat | 5 |  |  | Slope | #DIV/0!
|  | dsDNA neat | 5 |  |  | Intercept | #DIV/0!
|  | dsDNA -1 | 4 |  |  | r2 | #DIV/0!
|  | dsDNA -1 | 4
|  | dsDNA -2 | 3
|  | dsDNA -2 | 3
|  | dsDNA -3 | 2
|  | dsDNA -3 | 2
|  | dsDNA -4 | 1
|  | dsDNA -4 | 1
#DIV/0!
#DIV/0!
|  |  | r2 cut-off | 0.98
|  |  | neat copies/ul | 100000
|  |  | Sample name | RNA concentration | Cq | log difference from intercept | copies/ul RNA | average | copies/g
|  | sample 1 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 2 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 3 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 4 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 5 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 6 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 7 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 8 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 9 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 10 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 11 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  | log copies/ul | all Cqs | outliers removed
HAV |  | dsDNA neat | 5 |  |  | Slope | #DIV/0!
|  | dsDNA neat | 5 |  |  | Intercept | #DIV/0!
|  | dsDNA -1 | 4 |  |  | r2 | #DIV/0!
|  | dsDNA -1 | 4
|  | dsDNA -2 | 3
|  | dsDNA -2 | 3
|  | dsDNA -3 | 2
|  | dsDNA -3 | 2
|  | dsDNA -4 | 1
|  | dsDNA -4 | 1
#DIV/0!
#DIV/0!
|  |  | r2 cut-off | 0.98
|  |  | neat copies/ul | 100000
|  |  | Sample name | RNA concentration | Cq | log difference from intercept | copies/ul RNA | average | copies/g
|  | sample 1 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 2 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 3 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 4 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 5 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 6 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 7 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 8 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 9 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 10 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  | sample 11 |  | undiluted |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
|  |  |  | 10-1 |  | #DIV/0! | 0
[6 empty] | #DIV/0! | 0 | 0 | 0
GI EC RNA
Cq
h2o + EC RNA
|  |  | Sample name | RNA concentration | Cq | log difference from reference | relative amplification | % difference | RT-PCR inhibition
|  | sample 1 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 2 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 3 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 4 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 5 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 6 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 7 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 8 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 9 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 10 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 11 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
GII EC RNA
Cq
h2o + EC RNA
|  |  | Sample name | RNA concentration | Cq | log difference from reference | relative amplification | % difference | RT-PCR inhibition
|  | sample 1 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 2 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 3 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 4 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 5 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 6 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 7 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 8 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 9 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 10 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 11 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
HAV EC RNA
Cq
h2o + EC RNA
|  |  | Sample name | RNA concentration | Cq | log difference from reference | relative amplification | % difference | RT-PCR inhibition
|  | sample 1 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 2 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 3 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 4 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 5 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 6 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 7 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 8 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 9 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 10 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | sample 11 |  | undiluted |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 10-1 |  | #DIV/0! | #DIV/0! | #DIV/0!

## Notes
This spreadsheet has been developed by the UK NRL in order to assist laboratories using the method for quantification of viruses
in soft fruit and vegetables described in ISO 15216-1:2017. It should be used in conjunction with this document,
or alternatively the UK NRL generic protocol for Quantitative detection of norovirus and hepatitis A virus in soft fruit.
Formulae in the spreadsheet are password-protected; the only cells allowing data entry are coloured cream; these include cells for sample name,
copies/ul for neat dsDNA controls (set by default at 10,000 copies/ul), r2 cut-off values (set by default at 0.98) and Cq values for all PCR reactions.
Cells for negative PCR reactions should be left empty.
For standard curves, Cq values should be added to both the "all Cqs" and "outliers removed" columns. Outlying Cq values can be identified
using the graphical displays and discounted according to the prinicples of ISO 15216-1 by deleting from the "outliers removed" column.
The outlying Cq value will continue to appear on the graph but will not contribute to calculation of the standard curve parameters (slope, intercept, r2)
According to the values for slope and r2 obtained, the spreadsheet will indicate whether each standard curve is suitable for quantitative analysis, according to the principles of ISO 15216-1.
More stringent cut-off values for r2 are allowed by the spreadsheet however.
The process control virus calculation table at the head of the spreadsheet is used to calculate extraction efficiency
The EC RNA calculation tables at the foot of the spreadsheet are used to calculate RT-PCR inhibition
The UK NRL can provide support on request in the use of this spreadsheet, however cannot take any responsibility for its misapplication, or for the performance of any modified versions of the original.